## Summary Table
DEER 2008 Lighting Demand Coincidence Factors
by Building Type and Building Type Activity Area, based on 2005 and later building vintage
Coincident Demand Factors
Building Type and Space Use (Activity Area) | Demand Factor (In-Session) |  | Demand Factor (Summer Session) |  | Demand Factor (On-Break)
| Non-CFL Fixtures | CFL Fixtures | Non-CFL Fixtures | CFL Fixtures | Non-CFL Fixtures | CFL Fixtures
Assembly
Auditorium | 0.5 | 0.4 | NA | NA | NA | NA
Office (General) | 0.62963 | 0.43704 | NA | NA | NA | NA
Whole Building | 0.53223 | 0.40921 | NA | NA | NA | NA
Education - Primary School
Classroom/Lecture | 0.7 | 0.70474 | NA | NA | 0.02 | 0.02
Exercising Centers and Gymnasium | 0.39286 | 0.47262 | NA | NA | 0.02 | 0.02
Dining Area | 0.36667 | 0.37667 | NA | NA | 0.02 | 0.02
Kitchen and Food Preparation | 0.36667 | 0.37667 | NA | NA | 0.02 | 0.02
Whole Building | 0.57765 | 0.593 | NA | NA | 0.02 | 0.02
Education - Secondary School
Classroom/Lecture | 0.7 | 0.7 | NA | NA | 0.02 | 0.02
Office (General) | 1 | 1 | NA | NA | 0.02 | 0.02
Exercising Centers and Gymnasium | 0.82188 | 0.82469 | NA | NA | 0.02 | 0.02
Computer Room (Instructional/PC Lab) | 0.59737 | 0.66579 | NA | NA | 0.02 | 0.02
Dining Area | 1 | 1 | NA | NA | 0.02 | 0.02
Kitchen and Food Preparation | 0.05 | 0.065 | NA | NA | 0.02 | 0.02
Whole Building | 0.70808 | 0.7112 | NA | NA | 0.02 | 0.02
Education - Relocatable Classroom
Whole Building | 0.7 | 0.7 | NA | NA | 0.02 | 0.02
Education - Community College
Classroom/Lecture | 0.76 | 0.54 | 0.45567 | 0.385 | 0.02 | 0.02
Office (General) | 0.9 | 0.9 | 0.51927 | 0.43439 | 0.02 | 0.02
Computer Room (Instructional/PC Lab) | 0.75 | 0.53333 | 0.526 | 0.6 | 0.02 | 0.02
Comm/Ind Work (General, Low Bay) | 0.76 | 0.54 | 0.45567 | 0.385 | 0.02 | 0.02
Dining Area | 0.86667 | 0.9 | 0.563 | 0.525 | 0.02 | 0.02
Kitchen and Food Preparation | 0.86667 | 0.875 | 0.6 | 0.563 | 0.02 | 0.02
Whole Building | 0.8064 | 0.66924 | 0.4868 | 0.42095 | 0.02 | 0.02
Education - University
Classroom/Lecture | 0.7 | 0.7 | 0.45 | 0.45 | 0.035 | 0.035
Office (General) | 0.96481 | 0.77333 | 0.544 | 0.54511 | 0.035 | 0.035
Computer Room (Instructional/PC Lab) | 0.7 | 0.9 | 0.45 | 0.525 | 0.05 | 0.05
Comm/Ind Work (General, Low Bay) | 0.7 | 0.7 | 0.45 | 0.45 | 0.035 | 0.035
Dining Area | 0.85 | 0.75 | 0.525 | 0.45 | 0.035 | 0.035
Kitchen and Food Preparation | 0.85 | 0.75 | 0.638 | 0.563 | 0.035 | 0.035
Hotel/Motel Guest Room (incl. toilets) | 0.17813 | 0.17813 | 0.09175 | 0.09175 | 0.02 | 0.02
Corridor | 0.96481 | 0.77333 | 0.544 | 0.54511 | 0.035 | 0.035
Whole Building | 0.71668 | 0.66587 | 0.43791 | 0.43724 | 0.033649 | 0.033649
Health/Medical - Hospital
Office (General) | 0.9 | 0.85 | NA | NA | NA | NA
Office (General) | 0.9 | 0.85 | NA | NA | NA | NA
Dining Area | 0.7 | 0.65 | NA | NA | NA | NA
Kitchen and Food Preparation | 0.7 | 0.65 | NA | NA | NA | NA
Medical and Clinical Care | 0.75 | 0.65 | NA | NA | NA | NA
Laboratory, Medical | 0.75 | 0.65 | NA | NA | NA | NA
Medical and Clinical Care | 0.75 | 0.65 | NA | NA | NA | NA
Office (General) | 0.9 | 0.85 | NA | NA | NA | NA
Whole Building | 0.81511 | 0.72126 | NA | NA | NA | NA
Health/Medical - Nursing Home
Hotel/Motel Guest Room (incl. toilets) | 0.62667 | 0.48667 | NA | NA | NA | NA
Office (General) | 0.7 | 0.625 | NA | NA | NA | NA
Office (General) | 0.7 | 0.625 | NA | NA | NA | NA
Corridor | 0.9 | 0.6 | NA | NA | NA | NA
Dining Area | 0.675 | 0.6 | NA | NA | NA | NA
Kitchen and Food Preparation | 0.675 | 0.6 | NA | NA | NA | NA
Whole Building | 0.6766 | 0.5648 | NA | NA | NA | NA
Lodging - Hotel
Hotel/Motel Guest Room (incl. toilets) | 0.10913 | 0.10913 | NA | NA | NA | NA
Corridor | 0.9 | 0.675 | NA | NA | NA | NA
Dining Area | 0.82544 | 0.80132 | NA | NA | NA | NA
Kitchen and Food Preparation | 0.88 | 0.66 | NA | NA | NA | NA
Bar, Cocktail Lounge | 0.82544 | 0.61908 | NA | NA | NA | NA
Lobby (Hotel) | 0.9 | 0.675 | NA | NA | NA | NA
Laundry | 0.78667 | 0.59046 | NA | NA | NA | NA
Office (General) | 0.71 | 0.53297 | NA | NA | NA | NA
Whole Building | 0.24168 | 0.19866 | NA | NA | NA | NA
Lodging - Motel
Hotel/Motel Guest Room (incl. toilets) | 0.080045 | 0.080045 | NA | NA | NA | NA
Office (General) | 0.7 | 0.7 | NA | NA | NA | NA
Laundry | 0.6 | 0.4 | NA | NA | NA | NA
Corridor | 0.9 | 0.7 | NA | NA | NA | NA
Whole Building | 0.16833 | 0.1482 | NA | NA | NA | NA
Manufacturing - Bio/Tech
Comm/Ind Work (High Tech, Bio Tech, Lab) | 0.85877 | 0.78246 | NA | NA | NA | NA
Office (General) | 0.85965 | 0.78246 | NA | NA | NA | NA
Corridor | 0.8 | 0.8 | NA | NA | NA | NA
Computer Room (Mainframe/Server) | 0.85877 | 0.78246 | NA | NA | NA | NA
Dining Area | 0.85877 | 0.79649 | NA | NA | NA | NA
Kitchen and Food Preparation | 0.85877 | 0.78246 | NA | NA | NA | NA
Conference Room | 0.775 | 0.57583 | NA | NA | NA | NA
Whole Building | 0.84865 | 0.77905 | NA | NA | NA | NA
Manufacturing - Light Industrial
Comm/Ind Work (General, High Bay) | 0.92544 | 0.78246 | NA | NA | NA | NA
Storage (Unconditioned) | 0.9 | 0.725 | NA | NA | NA | NA
Whole Building | 0.92261 | 0.77607 | NA | NA | NA | NA
Office - Large
Office (Open Plan) | 0.71 | 0.62519 | NA | NA | NA | NA
Office (Executive/Private) | 0.71 | 0.62519 | NA | NA | NA | NA
Corridor | 0.71 | 0.62519 | NA | NA | NA | NA
Lobby (Office Reception/Waiting) | 0.71 | 0.62519 | NA | NA | NA | NA
Conference Room | 0.71 | 0.62519 | NA | NA | NA | NA
Copy Room (photocopying equipment) | 0.71 | 0.62519 | NA | NA | NA | NA
Restrooms | 0.71 | 0.62519 | NA | NA | NA | NA
Mechanical/Electrical Room | 0.71 | 0.62519 | NA | NA | NA | NA
Whole Building | 0.71 | 0.62519 | NA | NA | NA | NA
Office - Small
Office (Executive/Private) | 0.69333 | 0.67444 | NA | NA | NA | NA
Corridor | 0.69333 | 0.67444 | NA | NA | NA | NA
Lobby (Office Reception/Waiting) | 0.69333 | 0.67444 | NA | NA | NA | NA
Conference Room | 0.69333 | 0.67444 | NA | NA | NA | NA
Copy Room (photocopying equipment) | 0.69333 | 0.67444 | NA | NA | NA | NA
Restrooms | 0.69333 | 0.67444 | NA | NA | NA | NA
Mechanical/Electrical Room | 0.69333 | 0.67444 | NA | NA | NA | NA
Whole Building | 0.69333 | 0.67444 | NA | NA | NA | NA
Restaurant - Sit-Down
Dining Area | 0.8 | 0.8 | NA | NA | NA | NA
Lobby (Main Entry and Assembly) | 0.8 | 0.8 | NA | NA | NA | NA
Kitchen and Food Preparation | 0.8 | 0.8 | NA | NA | NA | NA
Restrooms | 0.8 | 0.8 | NA | NA | NA | NA
Whole Building | 0.8 | 0.8 | NA | NA | NA | NA
Restaurant - Fast-Food
Dining Area | 0.813 | 0.813 | NA | NA | NA | NA
Lobby (Main Entry and Assembly) | 0.813 | 0.813 | NA | NA | NA | NA
Kitchen and Food Preparation | 0.813 | 0.813 | NA | NA | NA | NA
Restrooms | 0.813 | 0.813 | NA | NA | NA | NA
Whole Building | 0.813 | 0.813 | NA | NA | NA | NA
Retail - 3-Story Large
Retail Sales and Wholesale Showroom | 0.8 | 0.65 | NA | NA | NA | NA
Storage (Conditioned) | 0.6 | 0.55 | NA | NA | NA | NA
Office (General) | 0.575 | 0.55 | NA | NA | NA | NA
Whole Building | 0.77592 | 0.63856 | NA | NA | NA | NA
Retail - Single-Story Large
Retail Sales and Wholesale Showroom | 0.875 | 0.7 | NA | NA | NA | NA
Storage (Conditioned) | 0.5 | 0.5 | NA | NA | NA | NA
Office (General) | 0.85 | 0.775 | NA | NA | NA | NA
Auto Repair Workshop | 0.65 | 0.6 | NA | NA | NA | NA
Kitchen and Food Preparation | 0.725 | 0.6 | NA | NA | NA | NA
Retail Sales and Wholesale Showroom | 0.875 | 0.7 | NA | NA | NA | NA
Whole Building | 0.84773 | 0.68888 | NA | NA | NA | NA
Retail - Small
Retail Sales and Wholesale Showroom | 0.875 | 0.7 | NA | NA | NA | NA
Storage (Conditioned) | 0.875 | 0.7 | NA | NA | NA | NA
Whole Building | 0.875 | 0.7 | NA | NA | NA | NA
Storage - Conditioned
Storage (Conditioned) | 0.7 | 0.575 | NA | NA | NA | NA
Office (General) | 0.7 | 0.575 | NA | NA | NA | NA
Whole Building | 0.7 | 0.575 | NA | NA | NA | NA
Storage - Unconditioned
Storage (Unconditioned) | 0.7 | 0.575 | NA | NA | NA | NA
Office (General) | 0.7 | 0.575 | NA | NA | NA | NA
Whole Building | 0.7 | 0.575 | NA | NA | NA | NA
Grocery
Retail Sales, Grocery | 0.7 | 0.5 | NA | NA | NA | NA
Office (General) | 0.7 | 0.5 | NA | NA | NA | NA
Comm/Ind Work (Loading Dock) | 0.7 | 0.5 | NA | NA | NA | NA
Refrigerated (Food Preparation) | 0.5 | 0.4 | NA | NA | NA | NA
Refrigerated (Walk-in Freezer) | 0.5 | 0.4 | NA | NA | NA | NA
Refrigerated (Walk-in Cooler) | 0.5 | 0.4 | NA | NA | NA | NA
Whole Building | 0.69026 | 0.49513 | NA | NA | NA | NA
Warehouse - Refrigerated
Refrigerated (Frozen Storage) | 0.55 | 0.55 | NA | NA | NA | NA
Refrigerated (Cooled Storage) | 0.55 | 0.55 | NA | NA | NA | NA
Comm/Ind Work (Loading Dock) | 0.55 | 0.55 | NA | NA | NA | NA
Office (General) | 0.7 | 0.5 | NA | NA | NA | NA
Whole Building | 0.553 | 0.549 | NA | NA | NA | NA
The fraction of lighting that is “on” during the demand period is listed in the table below by building type, activity area and by lighting type. The operation schedule of educational buildings during the demand period must be considered when determining the appropriate coincidence factors. Schools that are on summer break will have very different lighting usage than schools in-session or on a reduced summer schedule. Refer to the table on the next tab to determine the default building operation for each of the school categories.

## Peak Period and School Sessions
School Demand Period "Session" | [5 empty] | DEER 2008 Peak Demand Dates:
by School Type and Climate Zone
Climate | Primary | Secondary | Relocatable |  |  | Climate | Start Date |  |  | End Date
Zone | School | School | Classroom | College | University | Zone | Month | Day | Weekday | Month | Day | Weekday
CZ01 | In Session | In Session | In Session | In Session | In Session | CZ01 | Sep | 30 | Mon | Oct | 2 | Wed
CZ02 | Break | Break | Break | Summer | Summer | CZ02 | Jul | 22 | Mon | Jul | 24 | Wed
CZ03 | Break | Break | Break | Summer | Summer | CZ03 | Jul | 17 | Wed | Jul | 19 | Fri
CZ04 | Break | Break | Break | Summer | Summer | CZ04 | Jul | 17 | Wed | Jul | 19 | Fri
CZ05 | In Session | In Session | In Session | In Session | In Session | CZ05 | Sep | 3 | Tue | Sep | 5 | Thu
CZ06 | Break | Break | Break | Summer | Summer | CZ06 | Jul | 9 | Tue | Jul | 11 | Thu
CZ07 | In Session | In Session | In Session | In Session | In Session | CZ07 | Sep | 9 | Mon | Sep | 11 | Wed
CZ08 | In Session | In Session | In Session | In Session | In Session | CZ08 | Sep | 23 | Mon | Sep | 25 | Wed
CZ09 | Break | Break | Break | Summer | Summer | CZ09 | Aug | 6 | Tue | Aug | 8 | Thu
CZ10 | Break | Break | Break | Summer | Summer | CZ10 | Jul | 8 | Mon | Jul | 10 | Wed
CZ11 | Break | Break | Break | Summer | Summer | CZ11 | Jul | 31 | Wed | Aug | 2 | Fri
CZ12 | Break | Break | Break | Summer | Summer | CZ12 | Aug | 5 | Mon | Aug | 7 | Wed
CZ13 | Break | Break | Break | Break | Break | CZ13 | Aug | 14 | Wed | Aug | 16 | Fri
CZ14 | Break | Break | Break | Summer | Summer | CZ14 | Jul | 9 | Tue | Jul | 11 | Thu
CZ15 | Break | Break | Break | Summer | Summer | CZ15 | Jul | 30 | Tue | Jul | 32 | Thu
CZ16 | Break | Break | Break | Summer | Summer | CZ16 | Aug | 6 | Tue | Aug | 8 | Thu
* This table determines the proper school "session" to use for | [5 empty] | * The peak demand period for each climate zone is from 2p.m. to 5p.m.
determing peak demand coincident factors. | [5 empty] | during the dates listed above.