## Ratios
| Location | CFL Lamp Shape | Average CFL Wattage | Average Non-CFL Wattage | Wattage Reduction Ratio
Scenario 1 | INTERIOR | A-LINE | 11.112 | 65.2347 | 5.8707
Scenario 1 | INTERIOR | GLOBE | 10.7073 | 44.8517 | 4.1889
Scenario 1 | INTERIOR | ALL OTHER | 15.9886 | 43.1657 | 2.6998
Scenario 1 | INTERIOR | REFLECTOR | 16.2752 | 66.6216 | 4.0934
Scenario 1 | INTERIOR | SPIRAL | 17.7953 | 65.2347 | 3.6658
Scenario 2 | INTERIOR | A-LINE/SPIRAL | 17.5951 | 65.2347 | 3.7076
Scenario 2 | INTERIOR | GLOBE | 10.7073 | 44.8517 | 4.1889
Scenario 2 | INTERIOR | ALL OTHER | 15.9886 | 43.1657 | 2.6998
Scenario 2 | INTERIOR | REFLECTOR | 16.2752 | 66.6216 | 4.0934
Scenario 3 | INTERIOR | A-LINE/SPIRAL | 17.5951 | 65.2347 | 3.7076
Scenario 3 | INTERIOR | ALL OTHER | 14.7026 | 55.2868 | 3.7603
Scenario 4 | INTERIOR | REFLECTOR | 16.2752 | 66.6216 | 4.0934
Scenario 4 | INTERIOR | ALL OTHER | 17.1886 | 59.6733 | 3.4717
Scenario 5 | INTERIOR | All | 17.128 | 61.0976 | 3.5671
EXTERIOR | EXTERIOR | All | 17.8805 | 72.7164 | 4.0668

## CFL outputs
Obs | LocationDEER | lamp | VarName | N | Mean | StdErr | LowerCLMean | UpperCLMean
1 | EXTERIOR | A-LINE | watts | 31 | 13.6481 | 0.77148 | 12.3011 | 14.995
2 | EXTERIOR | GLOBE | watts | 12 | 12.6067 | 0.97252 | 10.7642 | 14.4493
3 | EXTERIOR | OTHER | watts | 66 | 16.3084 | 1.2705 | 14.1543 | 18.4626
4 | EXTERIOR | REFLEC | watts | 82 | 21.1813 | 1.0102 | 19.4757 | 22.8869
5 | EXTERIOR | SPIRAL | watts | 712 | 17.8766 | 0.1947 | 17.5503 | 18.2029
6 | INTERIOR | A-LINE | watts | 162 | 11.112 | 0.38622 | 10.462 | 11.7619
7 | INTERIOR | GLOBE | watts | 173 | 10.7073 | 0.29055 | 10.2175 | 11.1972
8 | INTERIOR | OTHER | watts | 391 | 15.9886 | 0.57559 | 15.0224 | 16.9548
9 | INTERIOR | REFLEC | watts | 426 | 16.2752 | 0.19924 | 15.9409 | 16.6096
10 | INTERIOR | SPIRAL | watts | 6070 | 17.7953 | 0.089525 | 17.6459 | 17.9446
Obs | LocationDEER | lamp2 | VarName | N | Mean | StdErr | LowerCLMean | UpperCLMean
1 | EXTERIOR | A-LINE/SPIRAL | watts | 743 | 17.6646 | 0.18569 | 17.3539 | 17.9753
2 | EXTERIOR | GLOBE | watts | 12 | 12.6067 | 0.97252 | 10.7642 | 14.4493
3 | EXTERIOR | OTHER | watts | 66 | 16.3084 | 1.2705 | 14.1543 | 18.4626
4 | EXTERIOR | REFLECTOR | watts | 82 | 21.1813 | 1.0102 | 19.4757 | 22.8869
5 | INTERIOR | A-LINE/SPIRAL | watts | 6232 | 17.5951 | 0.10739 | 17.4159 | 17.7742
6 | INTERIOR | GLOBE | watts | 173 | 10.7073 | 0.29055 | 10.2175 | 11.1972
7 | INTERIOR | OTHER | watts | 391 | 15.9886 | 0.57559 | 15.0224 | 16.9548
8 | INTERIOR | REFLECTOR | watts | 426 | 16.2752 | 0.19924 | 15.9409 | 16.6096
Obs | LocationDEER | lamp3 | VarName | N | Mean | StdErr | LowerCLMean | UpperCLMean
1 | EXTERIOR | A-LINE/SPIRAL | watts | 743 | 17.6646 | 0.18569 | 17.3539 | 17.9753
2 | EXTERIOR | OTHER | watts | 160 | 18.6875 | 0.69215 | 17.5267 | 19.8484
3 | INTERIOR | A-LINE/SPIRAL | watts | 6232 | 17.5951 | 0.10739 | 17.4159 | 17.7742
4 | INTERIOR | OTHER | watts | 990 | 14.7026 | 0.21949 | 14.335 | 15.0702
Obs | LocationDEER |  | VarName | N | Mean | StdErr | LowerCLMean | UpperCLMean
1 | EXTERIOR |  | watts | 903 | 17.8805 | 0.21488 | 17.5212 | 18.2398
2 | INTERIOR |  | watts | 7205 | 17.128 | 0.10338 | 16.9555 | 17.3005
Obs | LocationDEER | lamp4 | VarName | N | Mean | StdErr | LowerCLMean | UpperCLMean
1 | EXTERIOR | All OTHER | watts | 821 | 17.4644 | 0.22605 | 17.0863 | 17.8425
2 | EXTERIOR | REFLECTOR | watts | 82 | 21.1813 | 1.0102 | 19.4757 | 22.8869
3 | INTERIOR | All OTHER | watts | 6796 | 17.1886 | 0.11137 | 17.0027 | 17.3744
4 | INTERIOR | REFLECTOR | watts | 426 | 16.2752 | 0.19924 | 15.9409 | 16.6096

## Non-CFL outputs
Obs | LocationDEER | lamp | VarName | N | Mean | StdErr | LowerCLMean | UpperCLMean
1 | EXTERIOR | A-LINE | watts | 1323 | 64.3759 | 0.77215 | 63.0866 | 65.6653
2 | EXTERIOR | GLOBE | watts | 23 | 43.0915 | 3.4561 | 37.0042 | 49.1788
3 | EXTERIOR | OTHER | watts | 114 | 43.8146 | 2.7033 | 39.2626 | 48.3667
4 | EXTERIOR | REFLEC | watts | 650 | 90.0005 | 2.2226 | 86.2984 | 93.7026
5 | INTERIOR | A-LINE | watts | 10287 | 65.2347 | 0.23963 | 64.8358 | 65.6337
6 | INTERIOR | GLOBE | watts | 971 | 44.8517 | 0.55503 | 43.9231 | 45.7803
7 | INTERIOR | OTHER | watts | 877 | 43.1657 | 0.528 | 42.2821 | 44.0494
8 | INTERIOR | REFLEC | watts | 2754 | 66.6216 | 0.65875 | 65.5238 | 67.7195
Obs | LocationDEER | lamp3 | VarName | N | Mean | StdErr | LowerCLMean | UpperCLMean
1 | EXTERIOR | A-LINE | watts | 1323 | 64.3759 | 0.77215 | 63.0866 | 65.6653
2 | EXTERIOR | OTHER | watts | 787 | 83.0218 | 2.28 | 79.224 | 86.8197
3 | INTERIOR | A-LINE | watts | 10287 | 65.2347 | 0.23963 | 64.8358 | 65.6337
4 | INTERIOR | OTHER | watts | 4602 | 55.2868 | 0.48555 | 54.478 | 56.0956
Obs | LocationDEER |  | VarName | N | Mean | StdErr | LowerCLMean | UpperCLMean
1 | EXTERIOR |  | watts | 2110 | 72.7164 | 1.5064 | 70.2092 | 75.2235
2 | INTERIOR |  | watts | 14889 | 61.0976 | 0.29052 | 60.6144 | 61.5809
Obs | LocationDEER | lamp4 | VarName | N | Mean | StdErr | LowerCLMean | UpperCLMean
1 | EXTERIOR | All OTHER | watts | 1460 | 62.1294 | 0.78595 | 60.817 | 63.4418
2 | EXTERIOR | REFLECTOR | watts | 650 | 90.0005 | 2.2226 | 86.2984 | 93.7026
3 | INTERIOR | All OTHER | watts | 12135 | 59.6733 | 0.34238 | 59.1036 | 60.243
4 | INTERIOR | REFLECTOR | watts | 2754 | 66.6216 | 0.65875 | 65.5238 | 67.7195