## Slide 1: Load shape annual webinar Group A Deliverable 17
Notes: Peter.

## Slide 2: Webinar Participation
All attendees are muted on entry
How to participate in this webinar:
  Please use the chat box to submit questions
  We will read and respond to questions at the end of each section
During the wrap-up Q&A session, use the “raise hand” option in Webex:
  Use the button to raise your hand and the host will call on you
  Please state your name and affiliation when you ask your question
  Please turn off the raised hand after your question
Notes: Peter.

## Slide 3: Welcome
DEER load shape leads
  CPUC: Peter Biermayer and Amy Reardon
  DNV: Rachel Murray, Joe Lopes, Yitian Liang, Stewart Price, Vince Demay, and Katie Green
Goal of Webinar: To provide an update and an opportunity for interactive Q&A
Notes: Peter.

## Slide 4: Load shape annual webinar schedule
Introduction (5 min) 11:00 a.m. – 11:05 a.m.
Load shape overview & timeline (15 min) 11:05 a.m. – 11:20 a.m.
Current tools & web visualization demo (10 min) 11:20 a.m. – 11:30 a.m.
GLSP batch processing (5 min) 11:30 a.m. – 11:35 a.m.
Consolidation of GLSPs (15 min) 11:35 a.m. – 11:50 a.m.
Wrap up and final Q&A (10 min) 11:50 a.m. – 12:00 p.m.
Notes: Rachel.

## Slide 5: Load shape overview & timeline
11:05 a.m. – 11:20 a.m.
Notes: Rachel.

## Slide 6: Load shape overview
What is a load shape? How does it differ from an impact profile?
Load shapes contain 8760-hour distributions of the annual energy consumption of equipment
How are load shapes used?
Combined with hourly generation costs from avoided cost calculator (ACC) to determine value of measure energy savings
Why are we updating load shapes?
All weather-sensitive measures for PY2024-25 were re-simulated using CZ2022 weather data
What do program administrators need to do?
Provide 8760-hour load shapes for all measure permutations (labeled by TechID)
Impact profiles contain 8760-hour distributions of the annual energy savings of EE measures
They influence measure cost effectiveness
Improve granularity of load shapes that vary significantly by climate zone or building type
Notes: Rachel.

## Slide 7: Load shape sources
Model simulation results
DEER Water Heater Calculator
Aggregated hourly AMI data
Aggregated hourly EM&V data
NMEC load shapes
Notes: Rachel.

## Slide 8: Impact profiles in use for PY2022-23
Notes: Rachel.

## Slide 9: Impact profiles in use for PY2024-25
Notes: Rachel.

## Slide 10: Load shapes in use for PY2026-27
Notes: Rachel.

## Slide 11: Load shapes for PY2026-27
Notes: Rachel.

## Slide 12: Load shapes for PY2026-27
Due 2024-03-31
Notes: Rachel.

## Slide 13: Current tools & web visualization demo
11:20 a.m. – 11:30 a.m.
Notes: Rachel.

## Slide 14: DEER resources moved to CEDARS
At:
cedars.sound-data.com/deer-resources/
  Load shape resources
New home:
cedars.sound-data.com
Notes: Rachel.

## Slide 15: DEER load shape resources
Measure Package Guidance Memo, Dec-2021
Converters from 8760 to 900-parameter Generalized Load Shape Parameters (GLSPs), Jul-2020
  Python code
  Excel® workbook
Methodology Memo, Jul-2020
Notes: Rachel.

## Slide 16: GLSP batch processing
11:30 a.m. – 11:35 a.m.
Notes: Yitian.

## Slide 17: Load Shape batch-processing
Many permutations of measure load shapes from DEER need to be transformed into the condensed GLSP format.
DNV developed modules in open-source Python code to transform DEER load shapes (365x24) to the GLSP condensed format (36x24).
  1 vintage, 16 climate zones, all building types per load shape set
Notes: Yitian.

## Slide 18: Load shape batch-processing: PostgreSQL format for storage
Batch-processing module transforms GLSPs into a format suitable for database storage in the DEER database
Format: one load shape per record, 864 columns for hourly profiles, and 36 columns for monthly factors.
Notes: Yitian.

## Slide 19: Load shape batch-processing: batch visualization/comparison
Python model developed to plot and compare two sets of load shapes
Comparison is facilitated by plotting 16 climate zones on a single graph, for both old weather (CZ2010) and new weather (CZ2022) simulation results
Comparisons may reveal minor errors in DEER models
Comparisons may suggest when multiple load shapes are similar enough to consolidate into a single load shape
(Example plot of hourly peak Load Shapes by month)
Notes: Yitian.

## Slide 20: Consolidation of GLSPs
11:35 a.m. – 11:50 a.m.
Notes: Joe.

## Slide 21: Consolidation Process for Identifying Duplicative Load Shapes
Procedural Steps:
Select ratio Load Shapes (GLS)
Isolate characteristics being considered for pass/fail similarity:
  Vintage (app. 10)
  Location (Climate Zone): single location or groups (16)
  Sector (Residential, Commercial, Industrial) (3)
  Building/business type: single type or groups (app. 35)
  Equipment type/efficiency (varies by equipment)
Notes: Joe.

## Slide 22: Consolidation Process for Identifying Duplicative Load Shapes
Procedural Steps:
3. Calculate coefficient of variation (CV = standard deviation / mean) across all grouped load shapes for each of the 4 load shape ratio sets:
  Monthly ratios (3):
    monthly breakdown, peak day adjustment factor, and weekend/weekday
  Hourly ratios (selected month):
    hourly values by day type (peak day, weekday, and weekend day)
Notes: Joe.

## Slide 23: Consolidation Process for Identifying Duplicative Load Shapes
Procedural Steps:
4. Calculate weighted average summary of CV’s
  Monthly factors (weekend/weekday, Peak Day factor) weighted by monthly breakdown
  Hourly factors (by day type) weighted by hourly values (peak hours are more important)
5. Equipment Type: Unit technology, size, efficiency (multiple)
Notes: Joe.

## Slide 24
Consolidation
Process for
Identifying
Duplicative
Load Shapes
Notes: Joe.

## Slide 25: Consolidation Process for Identifying Duplicative Load Shapes
Example 1: Test variation of load shapes by climate zone for Large Commercial Office Package AC systems comparing 4 similar climate zones – all in southern, coastal California (CZs: 6, 7, 8, and 9) for 1985 vintage.
Stage 1: Monthly Factors:
Monthly CV’s all Pass, based on the criteria (Pass if under 5%, fail if over 7%).
Note: Only 4 Load Shapes at a time used in these examples, but can test across all vintages, locations, sectors, building/business types at once.
Wtd. Ann. CV
1.1% Low (Pass)
Wtd. Ann. CV
1.6% Low (Pass)
Wtd. Ann. CV
3.3% Low (Pass)
Proportion of annual consumption by month
Ratio of peak day consumption to average weekday consumption by month
Ratio of weekend day consumption to weekday consumption by month
Notes: Joe.

## Slide 26: Consolidation Process for Identifying Duplicative Load Shapes
Hourly CV’s Pass. Overall Result: All tests Pass, Load Shapes are sufficiently similar and may be consolidated
Wtd. Ann. CV
4.9% Low (Pass)
Wtd. Ann. CV
4.6% Low (Pass)
Example 1: Test variation of load shapes by climate zone for Large Commercial Office Package AC systems comparing 4 similar climate zones – all in southern, coastal California (CZs: 6, 7, 8, and 9) for 1985 vintage.
Stage 1: Hourly Factors:
Ratio of hourly consumption to peak hourly consumption
Ratio of hourly consumption to average weekday hourly consumption
Notes: Joe.

## Slide 27
Example 2: Test variation of load shapes by climate zone for Large Commercial Office Package AC systems comparing 4 diverse climate zones – North/South/Coast/Inland California (CZs: 2, 7, 15, and 16), for 1985 vintage.
Stage 1: Monthly Factors:
Monthly CV’s - None Pass, based on the criteria (Pass under 5%, fail over 7%).
Consolidation Process for Identifying Duplicative Load Shapes
Wtd. Ann. CV
11.2% Very high (Fail)
Wtd. Ann. CV
7.0% Marginal
Wtd. Ann. CV
9.4% High (Fail)
Proportion of annual consumption by month
Ratio of peak day consumption to average weekday consumption by month
Ratio of weekend day consumption to weekday consumption by month
Notes: Joe.

## Slide 28: Consolidation Process for Identifying Duplicative Load Shapes
Example 2: Test variation of load shapes by climate zone for Large Commercial Office Package AC systems comparing 4 diverse climate zones – North/South/Coast/Inland California (CZs: 2, 7, 15, and 16), for 1985 vintage.
Stage 2: Hourly Factors:
Hourly CV’s Fail. Overall Result: None of the tests pass; load shapes are not sufficiently similar to be consolidated.
Wtd. Ann. CV
13.5% Very high (Fail)
Wtd. Ann. CV
10.3% Very high (Fail)
Ratio of hourly consumption to peak hourly consumption
Ratio of hourly consumption to average weekday hourly consumption
Notes: Joe.

## Slide 29: Consolidation Process for Identifying Duplicative Load Shapes
Examples 1 & 2: Test variation of load shapes by climate zone for Large Commercial Office Package AC systems comparing 4 similar climate zones and 4 diverse climate zones for 1985 vintage.
Testing Summary
All CV’s must pass to confirm that load shapes are sufficiently similar to warrant consolidation.
All CV Tests Pass – may consolidate CZ’s 6, 7, 8, 9
Not all CV Tests Pass – may not consolidate CZ’s 2, 7, 15, 16
Notes: Joe.

## Slide 30: Consolidation Process for Identifying Duplicative Load Shapes
Other Tests Already Done:
Commercial HVAC Vintages:
  Low to marginal CV’s test results, with very slight decreases in weekend/weekday ratio over time.
  Vintage differences considered insignificant so can be consolidated when holding location (Climate Zone), Sector and Building/Business type constant.
Commercial Water Heating:
  Generally marginal CV’s test results when varying location.
  Some business type groupings possible (e.g. school, office) with consolidation possible
Notes: Joe.

## Slide 31: Consolidation Process for Identifying Duplicative Load Shapes
Next Steps:
Test additional combinations for consolidation
Expectations:
  Lighting within commercial building types likely would not vary by location (Climate Zone)
  Refrigeration for residential sector and by commercial building/business type would not vary by location
  Many equipment types that only vary by efficiency level
Automate process with Python-coded application
Notes: Joe.

## Slide 32: Wrap up and final Q&A
11:50 a.m. – 12:00 p.m.
Notes: Rachel.

## Slide 33: Questions 11:50 a.m. – 12:00 p.m.
Notes: Peter.

## Slide 34
For more information:
Peter.Biermayer@cpuc.ca.gov

## Slide 35
Peter.Biermayer@cpuc.ca.gov