Freeze 12 | HCFC-142b Monochlorodifluoroethane 20%; HFC-134a 1,1,1,2-Tetrafluoroethane 80% | 2053-01-01 |  | 1606 | Not Available |  | 1606 | https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california
FRIGC FR-12 | HCFC-124 2-Chloro-1,1,1,2-Tetrafluoroethane 39%; HFC-134a 1,1,1,2-Tetrafluoroethane 59%; n-Butane 2% | 2053-01-01 |  | 1081.29 | Not Available |  | 1081.29
G2018C | HCFC-22 Chlorodifluoromethane 95.5%; HFC-152a 1,1-Difluoroethane 1.5%; Propylene R-1270 3% | 2053-01-01 |  | 1730.5 | Not Available |  | 1730.5
GHG-HP | HCFC-22 Chlorodifluoromethane 65%; HCFC-142B Monochlorodifluoroethane 31% Isobutane R-600a 4% | 2053-01-01 |  | 1892.72 | Not Available |  | 1892.72 | https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california
GHG-X5 | HCFC-22 Chlorodifluoromethane 41%; HCFC-142B Monochlorodifluoroethane 15%; HFC-227ea 1,1,1,2,3,3,3-Heptafluoropropane 40% Isobutane R-600a 4% | 2053-01-01 |  | 2376.72 | Not Available |  | 2376.72 | https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california
Halon 1211 | Bromochlorodifluoromethane (CF2ClBr) | 1994-01-01 | 16 | 1890 | 4750 |  | 1890 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
Halon 1301 | Bromotrifluoromethane (CF3Br) | 1994-01-01 | 65 | 7140 | 8480 |  | 7140 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
Halon 2402 | Dibromotetrafluoroethane (C2F4Br2) | 1994-01-01 | 20 | 1640 | 3680 |  | 1640 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
HCFC-123 | Dichlorotrifluoroethane (C2HF3Cl2) | 1994-01-01 | 1.3 | 77 | 273 |  | 77 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
HCFC-124 | Monochlorotetrafluoroethane (C2HF4Cl) | 1994-01-01 | 5.9 | 609 | 2070 |  | 609 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
HCFC-141b | Dichlorofluoroethane (C2H3FCl2) | 1994-01-01 | 9.2 | 725 | 2250 |  | 725 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
HCFC-142b | Monochlorodifluoroethane (C2H3F2Cl) | 1994-01-01 | 17.2 | 2310 | 5490 |  | 2310 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
HCFC-21 | Dichlorofluoromethane (CHFCl2) | 1994-01-01 | 1.7 | 148 | 543 |  | 148 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
HCFC-22 | Monochlorodifluoromethane (CHClF2) | 1994-01-01 | 11.9 | 1810 | 5160 |  | 1810 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
HCFC-225ca | Dichloropentafluoropropane (C3HF5Cl2) | 1994-01-01 | 1.9 | 122 | 429 |  | 122 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
HCFC-225cb | Dichloropentafluoropropane (CHClFCF2CClF2) | 1994-01-01 | 5.9 | 595 | 2030 |  | 595 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
HFC-125 | Pentafluoroethane (C2HF5) | 2053-01-01 | 29 | 3500 | 6350 |  | 3500 | Aerosols table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california
HFC-134a | 1,1,1,2-Tetrafluoroethane (CH2FCF3) | 2053-01-01 | 13.8 | 1430 | 3830 |  | 1430 | https://www.epa.gov/snap/substitutes-rigid-polyurethane-appliance
HFC-143a | 1,1,1-Trifluoroethane (C2H3F3) | 2053-01-01 | 52 | 4470 | 5890 | Unacceptable as of January 1, 2019 except where allowed under narrowed use limits for military or space- and aeronautics-related applications. Unacceptable for military related applications as of January 1, 2022. Unacceptable for space- and aeronautics-related applications as of January 1, 2025. | 4470 | Foams table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california
HFC-152a | 1,1-Difluoroethane (C2H4F2) | 2053-01-01 | 1.4 | 124 | 437 |  | 124
HFC-161 | Fluoroethane [ethyl fluoride] (CH3CH2F) | 2053-01-01 | 0.25 | Not Available | Not Available |  | Not Available
HFC-227ea | 1,1,1,2,3,3,3-Heptafluoropropane (C3HF7) | 2053-01-01 | 33 | 3220 | 5310 |  | 3220 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
HFC-23 | Trifluoromethane (CHF3) | 2053-01-01 | 260 | 14800 | 12000 |  | 14800
HFC-236fa | 1,1,1,3,3,3-hexafluoropropane (C3H2F6) | 2053-01-01 | 220 | 9810 | 8100 |  | 9810 | Chillers table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
HFC-245fa | 1,1,1,3,3-pentafluoropropane (C3H3F5) | 2053-01-01 | 7.2 | 1030 | 3380 |  | 1030 | https://www.epa.gov/snap/substitutes-rigid-polyurethane-appliance
HFC-32 | Difluoromethane (CH2F2) | 2053-01-01 | 5 | 675 | 2330 | Listed as unacceptable on EPA website however, we could not find a date the refrigerant was banned. | 675 | https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california
HFC-365mfc | 1,1,1,3,3-pentafluorobutane (C4H5F5) | 2053-01-01 | 9.9 | 794 | 2520 |  | 794 | https://www.epa.gov/snap/substitutes-rigid-polyurethane-appliance
HFC-43-10mee | 1,1,1,2,2,3,4,5,5,5-decafluoropentane (C5H2F10) | 2053-01-01 | 15 | 1640 | 4140 |  | 1640
HFE-7100 | HFE-449s1 (C4F9OCH3) | 2053-01-01 | 5 | 390 | 1040 |  | 390
HFE-7200 | HFE-569sf2 (C4F9OC2H5) | 2053-01-01 | 0.77 | 55 | 207 |  | 55
HFE-8200 | blend ethyl nonafluoroisobutyl ether and ethyl nonafluorobutyl ether | 2053-01-01 | 0.77 | 55 | Not Available |  | 55
Hot Shot 2 | HFC-134a 1,1,1,2-Tetrafluoroethane 78.8%; HFC-125 Pentafluoroethane 19.5%; R-600a (Isobutane) 1.7% | 2053-01-01 |  | 1809.425 | 4256.341 |  | 1809.425
Ikon A | HFC-152a (unknown %); CF3I (trifluoroiodomethane) (unknown %) | 2053-01-01 |  | 124 | 437 |  | 124
Ikon B | HFC-134a (unknown %); HFC-152a (unknown %); CF3I (trifluoroiodomethane) (unknown %) | 2053-01-01 |  | Not Available | Not Available |  | Not Available
Isceon MO89 | HFC-125 Pentafluoroethane 86%; PFC-218 Octafluoropropane 9%; Propane (R-290) 5% | 2053-01-01 |  | 3141.1255 | 6029.065 |  | 3141.1255
Isobutane | R-600a (HC(CH3)3) | 2053-01-01 |  | 2 |  |  | 2 | Not listed in AR4, sourced from CARB: https://ww2.arb.ca.gov/resources/documents/high-gwp-refrigerants
Methane | Methane (CH4) | 2053-01-01 | 12 | 25 | 72 |  | 25
Methyl bromide | Methyl bromide (CH3Br) | 2053-01-01 | 0.8 | 5 | 17 |  | 5 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
Methyl chloroform (R-140a) | 1,1,1-trichloroethane (C2H3Cl3) | 2053-01-01 | 5 | 146 | 506 |  | 146 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
Methylene chloride | Dichloromethane (CH2Cl2) | 2053-01-01 | 0.38 | 8.7 | 31 |  | 8.7 | Controlled by Montreal Protocol; not included in ARB inventory by international convention
NARM-502 | HCFC-22 Chlorodifluoromethane 90%; HFC-23 Trifluoromethane 5%; HFC-152a 1,1-Difluoroethane 5% | 2053-01-01 |  | 2375.2 | 5265.85 |  | 2375.2
NF3 Nitrogen Trifluoride | Nitrogen Trifluoride (NF3) | 2053-01-01 | 740 | 17200 | 12300 |  | 17200
Nitrous Oxide | Nitrous Oxide (N2O) | 2053-01-01 | 114 | 298 | 289 |  | 298
PFC-116 | Hexafluoroethane (C2F6) | 2053-01-01 | 10000 | 12200 | 8630 |  | 12200
PFC-14 | Tetrafluoromethane (CF4) | 2053-01-01 | 50000 | 7390 | 5210 |  | 7390
PFC-218 | Octafluoropropane (C3F8) | 2053-01-01 | 2600 | 8830 | 6310 |  | 8830
PFC-31-10 | Perfluorobutane (C4F10) | 2053-01-01 | 2600 | 8860 | 6330 |  | 8860
PFC-318 | Perfluorocyclobutane (C4F8) | 2053-01-01 | 3200 | 10300 | 7310 |  | 10300
PFC-41-12 | Perfluoropentane (C5F12) | 2053-01-01 | 4100 | 9160 | 6510 |  | 9160
PFC-51-14 | Perfluorohexane (C6F14) | 2053-01-01 | 3200 | 9300 | 6600 |  | 9300
PFC-91-18 | Perfluorodecalin (C10F18) | 2053-01-01 | >1000 | >7500 | >5500 |  | >7500
Propane | R-290 (C3H8) | 2053-01-01 |  | 4 |  |  | 4 | Not listed in AR4, sourced from CARB: https://ww2.arb.ca.gov/resources/documents/high-gwp-refrigerants
R-401A | HCFC-22 Chlorodifluoromethane 53%; HCFC-124 2-Chloro-1,1,1,2-Tetrafluoroethane 34%; HFC-152a 1,1-Difluoroethane 13% | 2053-01-01 |  | 1182.48 | 3495.41 |  | 1182.48
R-401B | HCFC-22 Chlorodifluoromethane 61%; HCFC-124 2-Chloro-1,1,1,2-Tetrafluoroethane 28%; HFC-152a 1,1-Difluoroethane 11% | 2053-01-01 |  | 1288.26 | 3775.27 |  | 1288.26
R-401C | HCFC-22 Chlorodifluoromethane 33%; HCFC-124 2-Chloro-1,1,1,2-Tetrafluoroethane 52%; HFC-152a 1,1-Difluoroethane 15% | 2053-01-01 |  | 932.58 | 2844.75 |  | 932.58
R-402A | HCFC-22 Chlorodifluoromethane 38%; HFC-125 Pentafluoroethane 60%; Propane (R-290) 2% | 2053-01-01 |  | 2788 | 5770.866 |  | 2788
R-402B | HCFC-22 Chlorodifluoromethane 60%; HFC-125 Pentafluoroethane 38%; Propane (R-290) 2% | 2053-01-01 |  | 2416 | 5509.066 |  | 2416
R-403B | HCFC-22 Chlorodifluoromethane 56%; PFC-218 Octafluoropropane 39%; Propane (R-290) 5% | 2053-01-01 |  | 4458 | 5350.665 |  | 4458
R-404A | HFC-125 Pentafluoroethane 44%; HFC-134a 1,1,1,2-Tetrafluoroethane 4% HFC-143a 1,1,1-Trifluoroethane 52% | 2053-01-01 | 52 years (143a); 29 years (125); 14.6 years (134a) | 3921.6 | 6010 |  | 3921.6 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-406A | HCFC-22 Chlorodifluoromethane 55%; HCFC-142B Monochlorodifluoroethane 41% Isobutane R-600a 4% | 2053-01-01 |  | 1942.72 | 5089.02 |  | 1942.72 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-407A | HFC-32 Difluoromethane 20%; HFC-125 Pentafluoroethane 40%; HFC-134a 1,1,1,2-Tetrafluoroethane 40% | 2053-01-01 | 29 years (R-125); 4.9 years (R-32) | 2107 | 4538 |  | 2107 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-407B | HFC-32 Difluoromethane 10%; HFC-125 Pentafluoroethane 70%; HFC-134a 1,1,1,2-Tetrafluoroethane 20% | 2053-01-01 |  | 2245 | 4494 |  | 2245 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-407C | HFC-32 Difluoromethane 23%: HFC-125 Pentafluoroethane 25%; HFC-134a 1,1,1,2-Tetrafluoroethane 52% | 2053-01-01 |  | 1773.85 | 4115 |  | 1773.85 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-407D | HFC-32 Difluoromethane 15%: HFC-125 Pentafluoroethane 15%; HFC-134a 1,1,1,2-Tetrafluoroethane 70% | 2053-01-01 |  | 1627.25 | 3983 |  | 1627.25 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-407F | HFC-32 Difluoromethane 30%: HFC-125 Pentafluoroethane 30%; HFC-134a 1,1,1,2-Tetrafluoroethane 40% | 2053-01-01 |  | 1824.5 | 4136 |  | 1824.5 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-407H | HFC-32 Difluoromethane 32.5%: HFC-125 Pentafluoroethane 15.0%; HFC-134a 1,1,1,2-Tetrafluoroethane 52.5% | 2053-01-01 |  | 1495.125 | 3720.5 |  | 1495.125 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-408A | HCFC-22 Chlorodifluoromethane 47%; HFC-125 Pentafluoroethane 7%; HFC-143A 1-1-1 Trifluoroethane 46% | 2053-01-01 |  | 3151.9 | 5579.1 |  | 3151.9 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-409A | HCFC-22 Chlorodifluoromethane 60%; HCFC-124 2-Chloro-1,1,1,2-Tetrafluoroethane 25%; HCFC-142b 1-Chloro-1,1-Difluoroethane 15% | 2053-01-01 |  | 1585 | 4437 |  | 1585 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-410A | HFC-32 Difluoromethane 50%; HFC-125 Pentafluoroethane 50% | 2053-01-01 | 29 years (R-125); 4.9 years (R-32) | 2087.5 | 4340 |  | 2087.5 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-410B | HFC-32 Difluoromethane 45%; HFC-125 Pentafluoroethane 55% | 2053-01-01 | 29 years (R-125); 4.9 years (R-32) | 2228.75 | 4541 |  | 2228.75 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-411A | HCFC-22 Chlorodifluoromethane 87.5%; HFC-152a 1,1-Difluoroethane 11%; Propylene R-1270 1.5% | 2053-01-01 |  | 1597.435 | 4563.115 |  | 1597.435 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-411B | HCFC-22 Chlorodifluoromethane 94%; HFC-152a 1,1-Difluoroethane 3%; Propylene R-1270 3% | 2053-01-01 |  | 1705.21 | 4863.6 |  | 1705.21 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-413A | HFC-134a 1,1,1,2-Tetrafluoroethane 88%; PFC-218 Octafluoropropane 9%; Isobutane 3% | 2053-01-01 |  | 2053 | 3938.45 |  | 2053 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-414A | HCFC-22 Chlorodifluoromethane 51%; HCFC-124 Monochlorotetrafluoroethane 39%; HCFC-142b Monochlorodifluoroethane 6%; R-600a Isobutane (hydrocarbon) 4% | 2053-01-01 |  | 1478 | 3768.42 |  | 1478 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-414B | HCFC-22 Chlorodifluoromethane 50%; HCFC-124 Monochlorotetrafluoroethane 39%; HCFC-142b Monochlorodifluoroethane 9.5%; R-600a Isobutane (hydrocarbon) 1.5% | 2053-01-01 |  | 1362 | 3898.545 |  | 1362 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-416A | HFC-134a 1,1,1,2-Tetrafluoroethane 59%; HCFC-124 1-Chloro-1,2,2,2-tetrafluoroethane 39.5%; R-600a Isobutane (hydrocarbon) 1.5% | 2053-01-01 |  | 1084.3 | 3077.395 |  | 1084.3 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-417A | HFC-134a 1,1,1,2-Tetrafluoroethane 50%; HFC-125 Pentafluoroethane 46.6%; Butane 3.4% | 2053-01-01 |  | 2346.102 | 4874.202 |  | 2346.102 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-417B | HFC-125 Pentafluoroethane 79%; HFC-134a 1,1,1,2-Tetrafluoroethane 18.25%; R-600 Butane 2.75% | 2053-01-01 |  | 3026.0575 | 5715.5575 |  | 3026.0575 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-417C | HFC-134a 1,1,1,2-Tetrafluoroethane 78.8%; HFC-125 Pentafluoroethane 19.5%; R-600a (Isobutane) 1.7% | 2053-01-01 |  | 1809.408 | 4256.375 |  | 1809.408 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-420A | HCFC-142b Monochlorodifluoroethane 12%; HFC-134a 1,1,1,2-Tetrafluoroethane 88% | 2053-01-01 |  | 1535.6 | 4029.2 |  | 1535.6 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-421A | HFC-125 Pentafluoroethane 58% HFC-134a 1,1,1,2-Tetrafluoroethane 42% | 2053-01-01 |  | 2630.6 | 5291.6 |  | 2630.6 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-421B | HFC-125 Pentafluoroethane 85% HFC-134a 1,1,1,2-Tetrafluoroethane 15% | 2053-01-01 |  | 3189.5 | 5972 |  | 3189.5 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-422A | HFC-134a 1,1,1,2-Tetrafluoroethane 11.5%; HFC-125 Pentafluoroethane 85.1%; Isobutane 3.4% | 2053-01-01 |  | 3143.052 | 5844.402 |  | 3143.052 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-422B | HFC-134a 1,1,1,2-Tetrafluoroethane 42%; HFC-125 Pentafluoroethane 55%; Isobutane 3% | 2053-01-01 |  | 2525.69 | 5101.19 |  | 2525.69 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-422C | HFC-125 Pentafluoroethane 82%; HFC-134a 1,1,1,2-Tetrafluoroethane 15%; Isobutane R-600a 3% | 2053-01-01 |  | 3084.59 | 5781.59 |  | 3084.59 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-422D | HFC-125 Pentafluoroethane 65.1%; HFC-134a 1,1,1,2-Tetrafluoroethane 31.5%; Isobutane 3.4% | 2053-01-01 |  | 2729.052 | 5340.402 |  | 2729.052 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-423A | HFC-134a 1,1,1,2-Tetrafluoroethane 52.5%; HFC-227ea 1,1,1,2,3,3,3-Heptafluoropropane 47.5% | 2053-01-01 |  | 2280.25 | 4533 |  | 2280.25 | As of 2023-01-01, banned for cold storage warehouses (new) - https://ww2.arb.ca.gov/our-work/programs/california-significant-new-alternatives-policy-snap/cold-storage
R-424A | HFC-125 Pentafluoroethane 50.5%; HFC-134a 1,1,1,2-Tetrafluoroethane 47.0%; Butane (R-600) 1.0% Isobutane (R-600a) 0.9% Isopentane (R-601a) 0.6% | 2053-01-01 |  | 2439.6161 | 5006.8661 |  | 2439.6161 | Retail Food Refrigeration table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
R-426A | HFC-125 Pentafluoroethane 5.1%; HFC-134a 1,1,1,2-Tetrafluoroethane 93.0%; Butane (R-600) 1.3% Isobutane (R-600a) 0.6% | 2053-01-01 |  | 1508.47 | 3885.82 |  | 1508.47 | Retail Food Refrigeration table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
R-427A | HFC-32 Difluoromethane 15%; HFC-125 Pentafluoroethane 25%; HFC-134a 1,1,1,2-Tetrafluoroethane 50%; HFC-143a 1,1,1-Trifluoroethane 10% | 2053-01-01 |  | 2138.25 | 4441 |  | 2138.25
R-428A | HFC-125 Pentafluoroethane 77.5%; HFC-143a 1,1,1-Trifluoroethane 20.0%; Propane (R-290) 0.6%; Isobutane (R-600a) 1.9% | 2053-01-01 |  | 3607.3598 | 6100.1098 |  | 3607.3598 | Retail Food Refrigeration table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
R-434A | HFC-125 Pentafluoroethane 63.2%; HFC-143a 1,1,1-Trifluoroethane 18%; HFC-134a 1,1,1,2-Tetrafluoroethane 16%; Isobutane (R-600a) 2.8% | 2053-01-01 |  | 3245.484 | 5686.284 |  | 3245.484 | Retail Food Refrigeration table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
R-436A | Hydrocarbon blend of 54% propane (R-290), 46% isobutane (R-600a) | 2053-01-01 |  | 5 | 5 |  | 5
R-437A | HFC-125 Pentafluoroethane 19.5%; HFC-134a 1,1,1,2-Tetrafluoroethane 78.5%; Butane (R-600) 1.4%; Pentane (R-601) 0.6% | 2053-01-01 |  | 1805.164 | 4244.914 |  | 1805.164 | Retail Food Refrigeration table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
R-438A | HFC-125 Pentafluoroethane 45%; HFC-134a 1,1,1,2-Tetrafluoroethane 44.2%; HFC-32 Difluoromethane 8.5%; IsoButane (R-600a) 1.7%; Isopentane (R-601) 0.6% | 2053-01-01 |  | 2237.98 | 4659.23 |  | 2237.98 | Retail Food Refrigeration table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
R-441A | Hydrocarbon blend of 3.1% ethane (R-170); 54.8% propane (R-290), 36.1% n-Butane (R-600), and 6.0% isobutane (R-660a) | 2053-01-01 |  | 5 | 5 |  | 5
R-442A | HFC-32 Difluoromethane 31%; HFC-125 Pentafluoroethane 31%; HFC-134a 1,1,1,2-Tetrafluoroethane 30%; HFC-152a 1,1-Difluoroethane 3%; HFC-227ea 1,1,1,2,3,3,3-Heptafluoropropane 5% | 2053-01-01 |  | 1887.97 | 4118.41 |  | 1887.97
R-443A | Propane, isobutane, butane > 75%, hydrocarbon blend (Unacceptable for AC, SNAP list) | 2053-01-01 |  | Not Available | Not Available |  | Not Available
R-444A | HFC-32 Difluoromethane 12%; HFC-152a 1,1-Difluoroethane 5%; R-1234ze HFO-1234ze(E) 83% | 2053-01-01 | no MSDS yet | 88.03 | 302.28 |  | 88.03
R-444B | HFC-32 Difluoromethane 41.5%; R-152a 1,1-Difluoroethane 10%; R-1234ze HFO-1234ze 48.5% | 2053-01-01 | no MSDS yet | 293.01 | 1011.135 |  | 293.01
R-445A | HFC-134a 1,1,1,2-Tetrafluoroethane 9%; R-744 CO2 6%; R-1234ze HFO-1234ze 85% | 2053-01-01 | no MSDS yet | 129.61 | 345.61 |  | 129.61
R-446A | HFC-32 Difluoromethane 68%; R-1234ze HFO-1234ze 29%; R-600a isobutane 3% | 2053-01-01 | no MSDS yet | 459.38 | 1584.78 |  | 459.38
R-447A | HFC-32 Difluoromethane 68%; HFC-125 Pentafluoroethane 3.5%; R-1234ze HFO-1234ze(E) 28.5% | 2053-01-01 | no MSDS yet | 600 | Not Available |  | 600
R-447B | HFC-32 Difluoromethane 68%; R-1234ze HFO-1234ze(E) 24%; HFC-125 Pentafluoroethane 8% | 2053-01-01 |  | 739.24 | 2092.64 |  | 739.24
R-448A | HFC-32 Difluoromethane 26%; HFC-125 Pentafluoroethane 26%; HFC-134a 1,1,1,2-Tetrafluoroethane 21%; R-1234yf HFO-1234yf 2,3,3,3-Tetrafluoropropene 20%; R-1234ze HFO-1234ze 7% | 2053-01-01 |  | 1386.07 | 3061.37 |  | 1386.07
R-449A | HFC-32 Difluoromethane 24.3%; HFC-125 Pentafluoroethane 24.7%; HFC-134a 1,1,1,2-Tetrafluoroethane 25.7%; R-1234yf HFO-1234yf 2,3,3,3-Tetrafluoropropene 25.3% | 2053-01-01 |  | 1396.288 | 3119.203 |  | 1396.288
R-449B | HFC-32 Difluoromethane 25.2%; HFC-125 Pentafluoroethane 24.3%; HFC-134a 1,1,1,2-Tetrafluoroethane 27.3%; R-1234yf HFO-1234yf 2,3,3,3-Tetrafluoropropene 23.2% | 2053-01-01 |  | 1411.222 | 3176.032 |  | 1411.222
R-450A | HFC-134a 1,1,1,2-Tetrafluoroethane 42%; R-1234ze HFO-1234ze 58% | 2053-01-01 |  | 601.18 | Not Available |  | 601.18
R-451A | HFC-134a 1,1,1,2-Tetrafluoroethane 10.2%; R-1234ze HFO-1234ze 89.8% | 2053-01-01 |  | 146.758 | Not Available |  | 146.758
R-451B | HFC-134a 1,1,1,2-Tetrafluoroethane 11.2%; R-1234ze HFO-1234ze 88.8% | 2053-01-01 |  | 161.048 | Not Available |  | 161.048
R-452A | HFC-32 Difluoromethane 11% HFC-125 Pentafluoroethane 59%; HFO-1234yf 2,3,3,3-Tetrafluoropropene 30% | 2053-01-01 |  | 2139.55 | 4003.1 |  | 2139.55
R-452B | HFC-32 Difluoromethane 67% HFC-125 Pentafluoroethane 7%; HFO-1234yf 2,3,3,3-Tetrafluoropropene 26% | 2053-01-01 |  | 697.51 | 2005.86 |  | 697.51
R-452C | HFC-32 Difluoromethane 12.5% HFC-125 Pentafluoroethane 61.0%; HFO-1234yf 2,3,3,3-Tetrafluoropropene 26.5% | 2053-01-01 |  | 2219.64 | 4165.015 |  | 2219.64
R-453A | HFC-32 Difluoromethane 20%; HFC-125 Pentafluoroethane 20%; HFC-134a 1,1,1,2-Tetrafluoroethane (norflurane on MSDS) 53.8%; HFC-227ea 1,1,1,2,3,3,3-Heptafluoropropane 5%; R-600 Butane 0.6%; R-600a Isobutane 0.6% | 2053-01-01 |  | 1765.388 | 4062.088 |  | 1765.388
R-454A | HFC-32 Difluoromethane 35%; HFO-1234yf 2,3,3,3-Tetrafluoropropene 65% | 2053-01-01 |  | 239 | 816.15 |  | 239
R-454B | HFC-32 Difluoromethane 68.9%; HFO-1234yf 2,3,3,3-Tetrafluoropropene 31.1% | 2053-01-01 |  | 466 | 1605.681 |  | 466
R-454C | HFO-1234yf 2,3,3,3-Tetrafluoropropene 78.5%; HFC-32 Difluoromethane 21.5% | 2053-01-01 |  | 145.91 | 501.735 |  | 145.91
R-455A | HFC-32 Difluoromethane 21.5%; HFO-1234yf 2,3,3,3-Tetrafluoropropene 75.5%; R-744 CO2 3.0% | 2053-01-01 |  | 145.91 | 501.735 |  | 145.91
R-456A | HFO-1234ze(E) 49%; HFC-134a 1,1,1,2-Tetrafluoroethane 45%; HFC-32 Difluoromethane 6% | 2053-01-01 |  | 684.49 | 1863.79 |  | 684.49
R-457A | HFO-1234yf 2,3,3,3-Tetrafluoropropene 70.0%; HFC-32 Difluoromethane 18.0%; HFC-152a 1,1-Difluoroethane 12.0% | 2053-01-01 |  | 137.08 | 472.54 |  | 137.08
R-458A | See also Tdx 20 by Bluon. HFC-134a - 61.4%; HFC-32 - 20.5%; HFC-227ea - 13.5%; HFC-125 - 4.0%; HFC-236fa - 0.6% | 2053-01-01 |  | 1649.955 | 3848.72 |  | 1649.955
R-461A | HFC-125 Pentafluoroethane 55%; HFC-134a 1,1,1,2-Tetrafluoroethane 32%; HFC-143a 1,1,1-Trifluoroethane 5%; HFC-227ea 1,1,1,2,3,3,3-Heptafluoropropane 5%; R-600a isobutane 3% | 2053-01-01 |  | 2767.19 | 5278.19 |  | 2767.19
R-462A | HFC-134a 1,1,1,2-Tetrafluoroethane 44%; HFC-125 Pentafluoroethane 42%; HFC-32 Difluoromethane 9%; R-600a isobutane 3%; HFC-143a 1,1,1-Trifluoroethane 2% | 2053-01-01 |  | 2249.44 | 4679.79 |  | 2249.44
R-466A | HFC-32 Difluoromethane 49%; HFC-125 Pentafluoroethane 11.5%; CF3I (trifluoroiodide) 39.5% | 2053-01-01 | 3.949 | 733 | 1872.345 |  | 733
R-500 | CFC-12 Dichlorodifluoromethane (73.8%); HFC-152a 1,1, Difluoroethane (26.2%) | 2053-01-01 |  | 8076.688 | 8232.494 |  | 8076.688
R-502 | HCFC-22 Monochlorodifluoromethane 48.8%; CFC-115 Monochloropentafluoroethane 51.2% | 2053-01-01 | 12 years (R-22); 7100 years (R-115) | 4656.72 | 5236.8 |  | 4656.72
R-503 | CFC-13 Chlorotrifluoromethane 60% HFC-23 Trifluoromethane 40% | 2053-01-01 |  | 14560 | 11280 |  | 14560
R-507 | HFC-125 Pentafluoroethane 50%; HFC-143a 1,1,1-Trifluoroethane 50% | 2053-01-01 | 29 years (R-125); 52 years (R-143a) | 3985 | 6120 |  | 3985 | Retail Food Refrigeration table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
R-508A | HFC-23 Trifluoromethane 39% PFC-116 Hexafluoroethane 61% | 2053-01-01 |  | 13214 | 9944.3 |  | 13214
R-508B | HFC-23 Trifluoromethane 46% PFC-116 Hexafluoroethane 54% | 2053-01-01 |  | 13396 | 10180.2 |  | 13396
R-513A | HFO-1234yf 2,3,3,3-Tetrafluoropropene 56%; HFC-134a 1,1,1,2-Tetrafluoroethane 44% | 2053-01-01 |  | 629.76 | 1685.76 |  | 629.76
R-514A | HFO 1336mzz(Z) - 74.7%; Trans-1,2-dichloroethylene (t-DCE) - 25.3% | 2053-01-01 |  | 2 | 2 |  | 2
R-515A | R-1234ze(E) HFO 88%; HFC-227ea heptafluoropropane - 12% | 2053-01-01 |  | 387.28 | 638.08 |  | 387.28
R-516A | HFO-1234yf 2,3,3,3-Tetrafluoropropene 77.5%; HFC-152a, 1,1-Difluoroethane 14%; HFC-134a 1,1,1,2-Tetrafluoroethane 8.5% | 2053-01-01 |  | 139.685 | 387.505 |  | 139.685
SF6 Sulphur Hexafluoride | Sulphur Hexafluoride (SF6) | 1997-01-01 | 3200 | 22800 | 16300 |  | 22800 | https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california
SO2F2 Sulfuryl fluoride | Sulfuryl fluoride (SO2F2) | 2053-01-01 | 36 | Not Available | Not Available |  | Not Available
SP34E | HFC-134a 1,1,1,2-Tetrafluoroethane > 96%; Butane (R-600) C5H10 < 3.9% Additive < 0.1% | 2053-01-01 |  | 1372.96 | 3676.96 |  | 1372.96 | Retail Food Refrigeration table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
TDX20 see also R-458A | TDX20 from Bluon Energy; see also R-458A | 2053-01-01 |  | 1650 | Not Available |  | 1650
THR-03 | THR-03, also THR03 | 2053-01-01 |  | 954 | Not Available |  | 954 | Retail Food Refrigeration table - https://ww2.arb.ca.gov/resources/fact-sheets/hydrofluorocarbon-hfc-prohibitions-california#_ftnref1
Trifluoromethyl iodide (CF3I) | Trifluoromethyl iodide (CF3I), trifluoroiodomethane | 2053-01-01 | 0.005 | 1 | 1 |  | 1
Trifluoromethyl sulfur pentafluoride | Trifluoromethyl sulfur pentafluoride (SF5CF3) | 2053-01-01 | 800 | 17700 | Not Available |  | 17700
User Specified |  | 2053-01-01 |  |  |  | User must specify refrigerant GWP on the '2 RACC' sheet. Note that the California Air Resources Board maintains a list of common refrigerants available at: https://ww2.arb.ca.gov/resources/documents/high-gwp-refrigerants | 0
Note on A1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This tab copied from ACC.

## RACC Change Log
Model Version | Date | Tab | First Cell | Description | Previous Formula | Revised Formula | Who Changed
2022 v1a | 2022-05-17 | Dashboard | D19 | Updated user dashboard to have an input for measure type |  |  | E3
2022 v1a | 2022-05-17 | Dashboard |  | Added input dashboard columns for both new and existing devices in the measure and counterfactual |  |  | E3
2022 v1a | 2022-05-17 | Dashboard | D34 | Added cells showing device retirement year and number of years of early retirement |  |  | E3
2022 v1a | 2022-05-17 | Dashboard | D41 | Updated dropdown to include user-specified refrigerant |  |  | E3
2022 v1a | 2022-05-17 | Dashboard |  | Added cells for user to input GWP for a user-specified refrigerant |  |  | E3
2022 v1a | 2022-05-17 | Dashboard | C45 | Added cells showing measure start and end years |  |  | E3
2022 v1a | 2022-05-17 | Dashboard | E61 | Added intermediate calculations for new and existing devices |  |  | E3
2022 v1a | 2022-05-17 | Dashboard | C64 | Added intermediate calculations showing the percentage of device lifetime occuring during measure years and the percentage of device lifetime retired early |  |  | E3
2022 v1a | 2022-05-17 | Dashboard | B76 | Updated calculations to calculate PV cost streams from annual refrigerant leakage and end-of-life leakage from all relevant devices |  |  | E3
2022 v1a | 2022-05-17 | Dashboard |  | Discounting is applied at the mid year (starting 0.5 years after the beginning of the measure start year) |  |  | E3
2022 v1a | 2022-05-17 | Dashboard | E113 | Added a table showing the total NPV cost for the measure and counterfactual case, and the breakdown by leakage type |  |  | E3
2022 v1a | 2022-05-17 | ACC Inputs | B6 | Added a list of measure types for dashboard dropdown |  |  | E3
2022 v1a | 2022-05-17 | Refrigerant Leakage | A41 | Added row for "no device" with 0 refrigerant leakage |  |  | E3
2022 v1a | 2022-05-17 | Refrigerant GWP | A155 | Added row for user-specified refrigerant with a note that the user should specify the GWP on the dashboard |  |  | E3
2022 v1a | 2022-05-17 | Dashboard | B6 | Updated text description of the calculator to reflect changes |  |  | E3
2022 v1a | 2022-06-02 | ACC Inputs | E7 | Updated Nominal After-tax WACC to most recent values |  |  | E3
2022 v1a | 2022-06-02 | ACC Inputs | D4 | Upated GHG Adder costs to align with updated 2022 ACC Electric Model |  |  | E3
2022 v1a | 2022-06-02 | Refrigerant GWPs | A157 | Added a clarifying note on where to find the listed GWP values in the primary source |  |  | E3
2022 v1a | 2022-06-02 | Refrigerant GWPs |  | Filled in empty cells with text denoting "Not Available" where refrigerant GWPs were not available from the sources listed |  |  | E3
2022 v1b | 2022-07-18 | Dashboard | E95 | Corrected the dollar year mistake that was in v1a by replacing the year 2022 with 2020 in the cost calculations that are supposed to reflect values in 2020$ |  |  | E3
2022 v1b | 2022-07-18 | ACC inputs | D4 | Updated the GHG value to align with the GHG Value from Natural Gas ACC |  |  | E3
2022 v1b updated | 2022-09-08 | ACC Inputs | G7 | Updated dollar year so that outputs are in 2022$ |  |  | E3
2022 v1b updated | 2022-09-08 | Dashboard | E96, E123 | Corrected a mistake where inflation was being improperly accounted for in the PV cost streams. Now all PV fost streams are present values relative to the measure start year, and dollar year conversions happen later starting in cell E124. This error was present in 2022 v1a and v1b. |  |  | E3
2022 v1b updated corrected | 2023-07-17 | Dashboard | E123 | Corrected a mistake where the formula referenced a blank cell ('ACC Inputs'!I74) rather than the cell that actually contains the inflation rate ('ACC Inputs'!$I$7). | =SUM(E96:AI96)*(1+'ACC Inputs'!I74)^('ACC Inputs'!$G$7 - $D$53) | =SUM(E96:AI96)*(1+'ACC Inputs'!$I$7)^('ACC Inputs'!$G$7 - $D$53) | DNV
2022 v1b updated corrected | 2023-07-17 | Dashboard | F125 | Corrected mistake where the NPV of the "Counterfactual" end-of-life refrigerant leakage costs referenced the "Measure" case overlap fields ($D$72:$D$73) rather than those for the "Counterfactual" case ($G$72:$G$73). | =SUM($D$72:$D$73)*SUM(E116:AI116)*(1+'ACC Inputs'!$I$7)^('ACC Inputs'!$G$7 - $D$53) | =SUM($G$72:$G$73)*SUM(E116:AI116)*(1+'ACC Inputs'!$I$7)^('ACC Inputs'!$G$7 - $D$53) | DNV
2022 v1b updated corrected | 2023-07-17 | Dashboard | F126 | Corrected mistake where the NPV of the "Existing (for the Counterfactual case)" end-of-life refrigerant leakage costs pointed to the "Existing (for the Measure case)" case overlap fields ($E$72:$E$73) rather than those for the "Existing (for the Counterfactual case)" case ($G$72:$G$73). (This correction, however, does not change the result since both Existing cases are identical for the "Accelerated Replacement" Measure Application Type.) | =SUM($E$72:$E$73)*SUM(E117:AI117)*(1+'ACC Inputs'!$I$7)^('ACC Inputs'!$G$7 - $D$53) | =SUM($H$72:$H$73)*SUM(E117:AI117)*(1+'ACC Inputs'!$I$7)^('ACC Inputs'!$G$7 - $D$53) | DNV

## FSC_2022 >
2022 FuelSub Calculator version 1b updated
The FuelSub Calculator is updated biannually to improve the accuracy of how benefits of demand-side resources are calculated. The most recent update was completed in 2022.
Avoided Cost Calculator

## Reference
Name | Value | Units
ton to tonne | 1.1023 | short tons/metric tonne
MMBtu to therm | 0.1 | MMBtu/therm
Btu to therm | 100000 | Btu/therm
Btu to kWh | 3413 | Btu/kWh
Natural Gas Carbon Content | 0.0585 | short tons/MMBtu
Natural Gas Carbon Content | 0.005307 | metric tonnes/therm
pound to tonne | 2204.62 | lb/tonne
CCGT Characteristics From 2022 ACC
Heat Rate | 6900 | Btu/kWh | << Consistent with 2022 ACC high efficiency gas plant cut off
Natural Gas Emissions (at generator) | 0.36619 | tonnes/MWh generated
Natural Gas Emissions (delivered) | 0.39255 | tonnes/MWh delivered
Loss Factors from 2022 ACC Electric Model v1b
| PG&E | SCE | SDG&E
Weighted Average Loss Factor | 1.072 | 1.072 | 1.072
Statewide Average | 7.2%
TOU Period | PG&E | SCE | SDG&E
Summer Peak | 1.072 | 1.072 | 1.072
Summer Shoulder | 1.072 | 1.072 | 1.072
Summer Off-Peak | 1.072 | 1.072 | 1.072
Winter Peak | 1.072 | 1.072 | 1.072
Winter Shoulder | 1.072 | 1.072 | 1.072
Winter Off-Peak | 1.072 | 1.072 | 1.072
Number of hours by TOU Period
Summer Peak | 774 | 510 | 742
Summer Shoulder | 903 | 765 | 954
Summer Off-Peak | 2739 | 1653 | 1976
Winter Peak | 0 | 0 | 441
Winter Shoulder | 1612 | 2184 | 1911
Winter Off-Peak | 2732 | 3648 | 2736
Total Hours | 8760 | 8760 | 8760
Methane leakage adders from 2022 ACC Electric Model v1b
See 2022 ACC Documentation v1b, Section 12.2 Methane, Table 24
Variable | Included in Electricity? | Electricity Adder | Electricity Leakage Rate | Included in Gas? | Gas Leakage Adder | Gas Leakage Rate | Note | Source
Upstream in-state methane leakage | Yes | 5.57% | 0.612% | Yes | 5.57% | 0.612% | Methane leakage upstream of natural gas power plants. Also applies to programs that change natural gas consumption only. Methane leakage avoided cost is this percentage times the value of GHG emissions. By default, upstream in-state methane leakage applies to both electric and gas emissions. | ACC, see Appendix B of technical guidance for more information
Residential behind-the-meter methane leakage | No | 0% | 0% | Yes | 3.78% | 0.415% | Applies only to programs that eliminate natural gas appliances from a residential building. By default, residential behind-the-meter leakage only applied to residential gas emissions. | ACC, see Appendix B of technical guidance for more information
Select GWP time horizon: | 100-yr GWP
Methane leakage GWPs (AR4) | GWP | Source
100-yr GWP | 25 | ACC
20-yr GWP | 72 | ACC
Active GWP | 25

## Annual Factors
Long Run System Characteristics
Year | Emissions Intensity (short tons/MWh) | Source Energy (Btu/kWh) | Emissions Intensity (metric tonnes/MWh)
2019 | 0.21778 | 3722.7706 | 0.19757
2020 | 0.21281 | 3637.7828 | 0.19306
2021 | 0.20784 | 3552.795 | 0.18855
2022 | 0.20287 | 3467.8072 | 0.18404
2023 | 0.18871 | 3225.8069 | 0.17119
2024 | 0.19602 | 3350.6963 | 0.17782
2025 | 0.19356 | 3308.6548 | 0.17559
2026 | 0.19354 | 3308.4203 | 0.17558
2027 | 0.18671 | 3191.6922 | 0.16938
2028 | 0.17989 | 3074.9641 | 0.16319
2029 | 0.16529 | 2825.4912 | 0.14995
2030 | 0.1507 | 2576.0183 | 0.13671
2031 | 0.14579 | 2492.151 | 0.13226
2032 | 0.14088 | 2408.2836 | 0.12781
2033 | 0.13364 | 2284.517 | 0.12124
2034 | 0.1264 | 2160.7503 | 0.11467
2035 | 0.11916 | 2036.9836 | 0.1081
2036 | 0.1123 | 1919.637 | 0.10188
2037 | 0.10543 | 1802.2904 | 0.095648
2038 | 0.098569 | 1684.9437 | 0.089421
2039 | 0.091704 | 1567.5971 | 0.083193
2040 | 0.08484 | 1450.2505 | 0.076965
2041 | 0.078878 | 1348.3472 | 0.071557
2042 | 0.072917 | 1246.4439 | 0.066149
2043 | 0.066956 | 1144.5406 | 0.060741
2044 | 0.060994 | 1042.6374 | 0.055333
2045 | 0.055033 | 940.7341 | 0.049925
2046 | 0.055033 | 940.7341 | 0.049925
2047 | 0.055033 | 940.7341 | 0.049925
2048 | 0.055033 | 940.7341 | 0.049925
2049 | 0.055033 | 940.7341 | 0.049925

## Methane Leakage
Methane leakage adders
Variable | Value | Note
Upstream in-state methane leakage | 5.57% | Methane leakage upstream of natural gas power plants. Also applies to programs that change natural gas consumption. Methane leakage avoided cost is this percentage times the value of GHG emissions
Residential behind-the-meter methane leakage | 3.78% | Applies only to programs that eliminate natural gas appliances from a residential building (applied in Gas ACC only).
Active GWP time horizon | 100-yr | Choose from dropdown (100-yr default, consistent with the recommendation of CARB)
Methane leakage GWPs (AR4)
100-yr | 25
20-yr | 72
Active GWP | 25
Source: 2022 ACC Electric Model v1bxlsx.xlsb
IDSM (ca.gov)

## Long-run Emissions Inputs
2022 ACC Electric Model v1b - IRP 2021 Reference System Plan |  | 2018 | 2022 | 2023 | 2024 | 2025 | 2026 | 2028 | 2030 | 2032 | 2035 | 2040 | 2045
Load | GWh | 239106.9674 | 238133.5349 | 243569.636 | 247341.5363 | 249927.7819 | 252485.8907 | 256600.6696 | 260802.142 | 267431.6861 | 275927.9043 | 290088.2655 | 297046.127
Total Retail Sales | GWh | 209330.5911 | 199394.1693 | 204085.115 | 207184.0915 | 209211.8954 | 211218.5402 | 214281.5012 | 217428.4978 | 222820.3845 | 229568.4999 | 240813.6896 | 245396.6956
Total CAISO Emissions | MMtCO2 | 42.3013 | 36.6961 | 34.9383 | 36.842 | 36.7358 | 37.0856 | 34.9685 | 29.7247 | 28.4783 | 24.8172 | 18.5343 | 12.2515
Total CAISO Emissions | Million Short Tons CO2 | 46.6292 | 40.4504 | 38.5128 | 40.6113 | 40.4943 | 40.8798 | 38.5461 | 32.7658 | 31.392 | 27.3562 | 20.4305 | 13.5049
CO2 emissions of NG combustion | short tons/MMBtu | 0.0585
|  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049
Total Retail Sales | GWh | 209330.5911 | 206846.4857 | 204362.3802 | 201878.2748 | 199394.1693 | 204085.115 | 207184.0915 | 209211.8954 | 211218.5402 | 212750.0207 | 214281.5012 | 215854.9995 | 217428.4978 | 220124.4411 | 222820.3845 | 225069.7563 | 227319.1281 | 229568.4999 | 231817.5378 | 234066.5758 | 236315.6137 | 238564.6517 | 240813.6896 | 241730.2908 | 242646.892 | 243563.4932 | 244480.0944 | 245396.6956
Total CAISO Emissions | Million Short Tons CO2 | 46.6292 | 45.0845 | 43.5398 | 41.9951 | 40.4504 | 38.5128 | 40.6113 | 40.4943 | 40.8798 | 39.7129 | 38.5461 | 35.656 | 32.7658 | 32.0789 | 31.392 | 30.0467 | 28.7014 | 27.3562 | 25.9711 | 24.5859 | 23.2008 | 21.8157 | 20.4305 | 19.0454 | 17.6603 | 16.2752 | 14.89 | 13.5049
Emissions Intensity | short tons/MWh | 0.22275 | 0.21778 | 0.21281 | 0.20784 | 0.20287 | 0.18871 | 0.19602 | 0.19356 | 0.19354 | 0.18671 | 0.17989 | 0.16529 | 0.1507 | 0.14579 | 0.14088 | 0.13364 | 0.1264 | 0.11916 | 0.1123 | 0.10543 | 0.098569 | 0.091704 | 0.08484 | 0.078878 | 0.072917 | 0.066956 | 0.060994 | 0.055033 | 0.055033 | 0.055033 | 0.055033 | 0.055033
Source Energy | Btu/kWh | 3807.7585 | 3722.7706 | 3637.7828 | 3552.795 | 3467.8072 | 3225.8069 | 3350.6963 | 3308.6548 | 3308.4203 | 3191.6922 | 3074.9641 | 2825.4912 | 2576.0183 | 2492.151 | 2408.2836 | 2284.517 | 2160.7503 | 2036.9836 | 1919.637 | 1802.2904 | 1684.9437 | 1567.5971 | 1450.2505 | 1348.3472 | 1246.4439 | 1144.5406 | 1042.6374 | 940.7341 | 940.7341 | 940.7341 | 940.7341 | 940.7341